## Slide 1: Characterization of optical (and IR) solid state detectors
SUMMER SCHOOL on
PHYSICAL SENSING & PROCESSING – V EDITION
Department of Physics & Astronomy – University of Bologna
July 17-21, 2023

## Slide 2: Atomic Silicon

## Slide 3: INFINITE crystal lattice of PURE Si

## Slide 4: Photoelectric effect
In the infrared the most used material for astrophysical imaging is the compound HgCdTe.
By varying the percentage of Hg to Cd the width of the forbidden energy gap is adjusted  cut-off wavelength is moved
Hg1-xCdxTe
x=0.196 Eg=0.09Ev λ=14um
x=0.295 Eg=0.25Ev λ=5um
x=0.55 Eg=0.73Ev λ=1.7um

## Slide 5: Quantum efficiency / depth of absorption
10 um
0,1 um

## Slide 6: Physical dimensions
High quality epitaxial layer (high perfection of crystal lattice and absence of impurities – except dopant) is growth on top of a substrate. Detection takes place in this region.
Substrate (optically tick) provides mechanical support and electrical groud.

## Slide 7: Charge collection 1: p-n junction depletion

## Slide 8: Charge collection 2

## Slide 9: Pixels on CCD 1

## Slide 10: Pixels on CCD 2

## Slide 11: Multi Pinned Phase MPP

## Slide 12: CMOS pixel architectures 1

## Slide 13: CMOS pixel architectures 2

## Slide 14: CMOS pixels arrangement 1 (front illumination)

## Slide 15: CMOS pixels arrangement 2 (backside illumination)

## Slide 16: Charge measurement

## Slide 17: Correlated Double Sampling CDS

## Slide 18: Charge measurement architecture 1

## Slide 19: Charge measurement architecture 2

## Slide 20: Transfer function
Camera gain constant
(e-/DN)

## Slide 21: Photon Transfer function
Camera gain constant
(e-/DN)
+
+
+
Poisson statistic
1) Independent events
2) Time invariant probability distribution
3) Probability of an event proportional to the time small interval
4) Negligible probability of two event in the same small interval of time

## Slide 22: Photon Transfer: linear fit
+

## Slide 23: Transfer function: log fit

## Slide 24: Estimators and estimators errors
+

## Slide 25: Fixed pattern noise

## Slide 26: Pixels data analysis strategies
Flat fielding
Two images subtraction:

## Slide 27: Pixels data analysis strategies
Pixel by pixel statistics on multiple images:
  Advantages:
      Characterisation of each pixel measuring chain
      No need for matrix pre- analysis (hot or cold spots identification) or data normalization (flat fielding)
      Cumulative statistics (many pixel)
      Identification of matrix defect
  Disadvantages: multiple images acquisition (100 - 1000)

## Slide 28: In the lab
SONY IMX425
Monochrome 12 bit camera
~125 Hz max frame rate
~ 1,3MB/image
DON’T TOUCH THE CAMERA: IT COULD BE VERY HOT UP 70 °C

## Slide 29: In the lab